System Integration Practical completion check list

Software applications

| Communication | Rover Lon/485/RS232 | Serial Spy MSTP | ModScan32 ModBus | Wire Shark IP | NLutil Scan Lon | NodUtil XIF Lon | BQT MSTP/IP | IP Tracker IP |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Modbus |  |  |  |  |  |  |  |  |
| IP |  |  |  |  |  |  |  |  |
| BACnet |  |  |  |  |  |  |  |  |
| Lon |  |  |  |  |  |  |  |  |
| Trane Comm 4 |  |  |  |  |  |  |  |  |

## BacNet MSTP Communication

| UC to UC device Point referenceing | All devices on MSTP link Discovered | Remote Unit ID and Addressing | Token Pass /Diag. |
| --- | --- | --- | --- |

## Lon Talk Network

| Setup | DSN Format | Communication | NVI Status | Installation | Binding |
| --- | --- | --- | --- | --- | --- |

- UC400 Points List

- UC600 Points List

AOP          Name				                     Default Value

| AOP 1 | Supply Fan Speed (2-10 VDC) |  |
| --- | --- | --- |
| AOP 2 | Return Fan Speed (4-20MA) |  |
| AOP 3 | RTU 1 Supply Air Set point |  |

AIP              Name				           Reference

| AIP 1 | Space Temperature |  |
| --- | --- | --- |
| AIP 2 | Supply Air Temperature |  |
| AIP 3 | Supply Air Duct Static (P1) |  |
| AIP 4 | Space Static (UI 4-20MA -1” to 1”) |  |

AV            Name				                     Input location

| AV 1 | Supply Fan Speed Set Point |  |
| --- | --- | --- |
| AV 2 | Return Fan Speed Set Point |  |
| AV 3 | Supply Temperature Set Point |  |

BOP            Name				                     Input location

| BOP 1 | CC1 |  |
| --- | --- | --- |
| BOP 2 | OSA\Return Damper |  |
| BOP 3 | Supply Fan S/S |  |
| BOP 4 | Return Fan S/S |  |

BIP              Name				                     Input location

| BIP 1 | Supply Fan Status |  |
| --- | --- | --- |
| BIP 2 | Return Fan Status |  |
| BIP 3 | Dirty Filter |  |
| BIP 4 | High static Trip |  |

BV              Name				                     Input location

| BV 1 | System Fail Alarm |  |
| --- | --- | --- |
| BV 2 | High Supply Air Temp Alarm |  |
| BV 3 | Cool Fail |  |
| BV 4 | Space Temperature Alarm |  |
| BV 5 | Return Fan Override |  |

Multistate Value       Name				               Input location

| MSV 1 | Occupancy (4 States) |  |
| --- | --- | --- |
| MSV 2 | Diagnostics (5 States) |  |
| MSV 3 | OSA Damper Status (3 States) |  |
| MSV 4 | System Mode (5 States) |  |

BCU Setup

| IP Address | Dip Switch Address BCU | Create A0P/B0P AIP/BIP | UDP port | Reference BCU points |
| --- | --- | --- | --- | --- |
| BCU object ID | Instance # | BBMD | Save BACnet Report | BBMD table edit |

BCU BACnet Points List

AOP          Name				                     Default Value

| AOP 1 | Chilled Water Supply Temp REF | 45 |
| --- | --- | --- |
| AOP 2 | Chilled Water Return Temp REF | 55 |
| AOP 3 | AHU 1 Duct Static Pressure REF | 2.5 |
| AOP4 | Building AVG. Space Temp REF | 74.3 |

AIP              Name				           Input location

| AIP 1 | Chilled water supply temp | Reference AOP1 |
| --- | --- | --- |
| AIP 2 | Chilled water return temp | Reference AOP2 |
| AIP 3 | AHU 1 Duct Static Pressure | Reference AOP3 |
| AIP 4 | Building AVG. Space Temp | Reference AOP4 |

BOP            Name				                      Default Value

| BOP 1 | Main Lighting REF | On |
| --- | --- | --- |
| BOP 2 | Exhaust fan 1 REF | OFF |
| BOP 3 | Chiller plant control REF | On |
| BOP 4 | Outside lights REF | OFF |

BIP              Name				                     Input location

| BIP 1 | Main Lighting REF | Reference BOP 1 |
| --- | --- | --- |
| BIP 2 | Exhaust fan 1 REF | Reference BOP2 |
| BIP 3 | Chiller plant control REF | Reference BOP3 |
| BIP 4 | Outside lights REF | Reference BOP4 |

Tracer SC

| Create SC points | Upload Devices BACnet /Lon Talk | Create AIP/BIP | Reference BCU points |
| --- | --- | --- | --- |
| BCU object ID | Setup Link With Rover | Setup ports | Instance # |

Reference BCU Points In Tracer SC

BCU point Name                              Tracer SC point name              Instance

| AIP 1 | Chilled water supply temp | CHWST |  |
| --- | --- | --- | --- |
| AIP 2 | Chilled water return temp | CHWRT |  |
| AIP 3 | AHU 1 Duct Static Pressure | AHU1DS |  |
| AIP 4 | Building AVG. Space Temp | AVG space temp |  |
| BIP 1 | Main Lighting REF | Main Lighting |  |
| BIP 2 | Exhaust fan 1 REF | EXH 1 |  |
| BIP 3 | Chiller plant control REF | CPC |  |
| BIP 4 | Outside lights REF | OSL |  |

TR200 integration

| Setup Drive | Setup BACnet/MSTP | Pull in points to SC | Setup Template in SC | Check points with Serial spy |
| --- | --- | --- | --- | --- |

UC800 Modbus setup and Integration

| Configure | Setup Modbus | Check points | Check points with ModScan 32 |
| --- | --- | --- | --- |

JENE SYS PC-1000 setup and Integration

| Configure | Setup | Pull in To SC | Troubleshooting |
| --- | --- | --- | --- |

Contemporary Controls setup and Integration

| Configure | Setup | (TR200)MSTP/IP | Pull into SC over IP |
| --- | --- | --- | --- |

IP network setup

| Subnet Address | Subnet Mask | Check with WireShark | Test network IPtracker |
| --- | --- | --- | --- |
| Save network report to Excel file | Telnet to BCU’s Browser to SC | Number of Used IP addresses | Number of Un-used addresses |

IP Network Data

| Device Name | Device Type | Device ID | IP Address | UDP port |
| --- | --- | --- | --- | --- |
| Device Name | Device Type | Device ID | IP Address | UDP port |
| Device Name | Device Type | Device ID | IP Address | UDP port |
| Device Name | Device Type | Device ID | IP Address | UDP port |
| Device Name | Device Type | Device ID | IP Address | UDP port |
| Device Name | Device Type | Device ID | IP Address | UDP port |
| Device Name | Device Type | Device ID | IP Address | UDP port |
| Device Name | Device Type | Device ID | IP Address | UDP port |
| Device Name | Device Type | Device ID | IP Address | UDP port |
| Device Name | Device Type | Device ID | IP Address | UDP port |